## Slide 1: Camera Focusing
Motion Control with EPICS

## Slide 2: Hardware description
Nexcom PC
Beckhoff HW
Camera Focus
Nexcom PC
Beckhoff HW
Camera Focus
IOC
ECMC
ECMCCFG
Network Card
EtherCAT drv
LensControl.db
st.cmd

## Slide 3: Write PVs to interface the asyn driver
limit switches
turn motor on/off
stop
current position
driver status (it is a byte word that must be parsed)
error code + reset command
position and velocity setpoints
choose all 4 types of motion (absolute, relative, velocity and homing)